## 27.03
Calibration results IMU
Code	https://github.com/Razor-AHRS/razor-9dof-ahrs				See	https://github.com/Razor-AHRS/razor-9dof-ahrs/issues/71					if compiling error : 'Read_Gyro' was not declared in this scope Error
Instruction	https://github.com/Razor-AHRS/razor-9dof-ahrs/wiki/Tutorial

x min	-265
x max	280
y min	-277
y max	273
z min	-299
z max	240

Gyro x	-35.15
Gyro y	-8.54
Gyro z	10.32

Trying to write 5450 sample points to file magnetom.float ...
Done.

In the Razor_AHRS.ino, under 'SENSOR CALIBRATION' find the section that reads 'Magnetometer (extended calibration)'
Replace the existing 3 lines with these:

#define CALIBRATION__MAGN_USE_EXTENDED true
const float magn_ellipsoid_center[3] = {80.7052, -48.2576, 3.04080};
const float magn_ellipsoid_transform[3][3] = {{0.859481, 0.00639267, -0.00196188}, {0.00639267, 0.889663, 0.0290560}, {-0.00196188, 0.0290560, 0.992348}};